What is a Thermocouple?ApplicationsThermocouples are used in numerous fields, including:Industrial Processes: Monitoring temperatures in kilns, gas turbines, and manufacturing processes.Voltage Measurement: The voltage produced is typically in the microvolt range, and it requires careful measurement to obtain accurate temperature readings.Disadvantages of ThermocouplesAccuracy: While they are generally reliable, achieving high accuracy can be challenging, especially in low-temperature applications.When this junction experiences a temperature change, it generates a voltage that can be correlated to the temperature difference between the measuring junction and a reference junction, which is kept at a constant temperature [1][3].Seebeck Effect: The fundamental principle behind thermocouples is the Seebeck effect, where a voltage is produced due to a temperature difference between the two junctions.A thermocouple consists of two dissimilar metal wires joined at one end, known as the measuring junction.Advantages of ThermocouplesWide Temperature Range: They can measure a broad range of temperatures, making them versatile for various applications.ConclusionThermocouples are essential tools for temperature measurement across various industries due to their wide range, durability, and fast response times.