Operates using Non-Dispersive Infrared (NDIR) technology.Infrared light passes through the air sample, and CO2 molecules absorb specific wavelengths.The instrument calculates the concentration based on the absorbed infrared energy.