Access control is a combination of hardware and software that controlsaccess to entry points of a structure or property.

It is varied in type andcomplexity. However, most card access control systems consist of the followingbasic components:• User facing: Access cards, card reader and access control keypad.• Infrastructure: Electric door lock hardware, access control panels,access control server computer and low voltage cabling.• Admin facing: Access management dashboard, integrations or API.