Description of Work: Clearly outline the maintenance tasks to be performed on the electrical motor, including any troubleshooting, inspection, testing, or repair activities.Provision of adequate ventilation for confined spaces or areas where hazardous gases may be present.Hazard Identification: Conduct a thorough risk assessment to identify potential hazards associated with the maintenance work, such as electrical shock, arc flash, fire, or chemical exposure.Equipment Involved: Identify the specific electrical equipment involved in the maintenance, including the motor, control panels, disconnect switches, and any other associated components.
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