The design of illumination systems is crucial for ensuring that spaces are well-lit and functional.Aesthetic Integration: Finally, the aesthetic aspect should not be overlooked.This involves determining the optimal placement of fixtures to achieve uniform lighting and minimize shadows.Control Mechanisms: Incorporating control systems such as dimmers, timers, and occupancy sensors can enhance energy efficiency.Regulatory Compliance: Adhering to local regulations and standards is necessary to ensure safety and energy efficiency in lighting design.The lighting design should complement the architectural features of the space and contribute to the overall ambiance.LED lights are popular due to their longevity and low energy consumption, while fluorescent lights may be suitable for larger areas.For example, workspaces may need higher lux levels compared to relaxation areas.Different activities require different levels of illumination.2.3.4.5.6.7.