The circuit includes a pump, condenser, cooling tower.the exhaust steam from the turbine is condensed in condenser where, cold water is circulated to condense the steam into water.The atmospheric air enters the cooling tower from the openings provided at the bottom of the tower.
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