The role of an emergency shutdown system is to allow the rapid and safe shutdown of an equipment, a process or an installation in the event of an emergency situation or imminent danger.Emergency shutdown systems are particularly important in industrial environments, chemical installations, production plants, laboratories, water treatment centers, and other sectors where emergency situations may arise.They are an integral part of safety and risk prevention measures to ensure the protection of workers, facilities and the environment.