All medical exposures must be subject to the principles of justification andoptimization of radiological protection, which are common to all practices dealingwith potential exposures of humans to ionizing radiation.The practice involving exposure toradiation must be justified in principle through the endorsement of relevantprofessional societies, as matters of effective medical practice will be centralto this judgement.In addition to the requirements of optimization of radiological protection,the concept of optimization of clinical practice in diagnostic radiology must