Significant intrinsic and extrinsic noises in EDA collected by awearable biosensor in the field hinder the application of EDA-based stress measurement for understanding the interaction be-tween humans and the built environment.Also, the validity and reliability of the stress metrics(i.e., BCC and ICC) calculated from EDA denoised by the pro-posed method were statistically higher than those from EDAdenoised by advanced benchmark methods.The proposed denoising method contributesto monitoring and improving the quality of the human-built envi-ronment interaction by enabling wearable EDA sensors to collecthigh-quality signals and accurately measure stress from people'sdaily outings.Consequently, classi-fication models based on stress metrics showed statistically higheraccuracy with EDA denoised by the proposed method than by thebenchmark methods.This finding demonstrates that intrinsic noise with signalcharacteristics similar to those of desired signals can be alleviatedby referencing other signals readily acquired using multimodalwearable biosensors.Then intrinsicrespiration noises are detected and attenuated using a subject-independent machine learning model that detects noise-inducingirregular respiration from PPG collected at the same time asEDA.Theproposed method first attenuates extrinsic noises by applying sev-eral filters (e.g., high-pass filter and wavelet filter).These results indicate that the proposeddenoising method can improve stress measurement using EDA by attenuating both intrinsic respiration noise and extrinsic noise inEDA.The subject-independent irregular respirationclassifier trained by applying a MDAN showed 0.849 accuracyin LOSOCV.