Buildings should be maintained in good repair and gutters and downpipes cleaned out atleast once a year.Roofs need to be checked annually to ensure that they are watertightand that roof coverings are securely fixed in place.