?Clinical Sciences: (All the clinical Specialties) density,maxillofacial, neurosurgery, obstetrics and gynecology,ophthalmology, orthopedics, plastic and reconstructivesurgery, thoracic and cardiovascular surgery, veterinarymedicine and surgery, etc.Science and engineering: (Materials Science) structureproperty relationships of synthetic and biologicalmaterials including metals, ceramics, polymers,composites, tissues (blood and connective tissues), etc.Biology and Physiology: Cell and molecular biology,anatomy, animal and human physiology, histopathology,experimental surgery, immunology, etc.Many millions of patients have enjoyed alleviation of pain,increased function and an improved quality oflife due to the success of biomedical materials and theimplants and devices made from them.Bio-compatibility: Acceptance of an artificialimplant by the surrounding tissues and by the bodyas a whole.Biomaterials are used to make devices to replace a part or afunction of the body in safe, reliably economically, andphysiologically acceptable manner.Commonplace examples include suture needles, plates, teethfillings, etc.1- Standard Specifications: Many standardspecification tests of both national and internationalstandards organizations (ISO) are now available,which effectively maintain quality levels.Suchspecifications normally give details for:(a) the testing of certain products,(b) the method of calculating the results(c) the minimum permissible result, which isacceptable.Biomaterial: A synthetic material used to makedevices to replace part of a living system or tofunction in intimate contact with living tissue.A variety of devicesand materials are used in the treatment of disease or injury.Theworldwide number of implanted devices is in the range of 4000 000 to 5 000 000 per year.Fields of Knowledge to Develop Biomaterials?More than 40 different materials are currently used toreplace more than 40 different parts of the body.Biomaterials?Biological Material: A material that is produced bya biological system.??????