To grasp MRI sequences, it's essential to define some key terms in radiology:	o	Repetition Time (TR) refers to the time interval between successive pulse sequences applied to the same tissue slice.Overall, T1 and T2-weighted images provide complementary information for diagnosing various conditions based on their distinct tissue signal characteristics.These two parameters, TR and TE, determine the characteristics of different MRI sequences:	o	T1-weighted images are generated using short TR and short TE, measuring how quickly the tissue becomes magnetized.In contrast to T1-weighted images, T2-weighted images show:	o	High signals for tissues with more water content, allowing visualization of edema, tumors, infarctions, infections, and inflammation.