we need to control the light from more than two locations then we simply install a 4-way, or double-pole, double-throw, switch in between the two 3-way switches. As a rule, we must always install 3-way switches in pairs, and then as many 4-way switches as necessary.