11 December 2005: a large tank at an oil-products storage depot overfilled with petrol due to the gauge enabling the operation to be monitored becoming stuck– An independent high-level switch that closed down operations automatically if the tank was overfilled was inoperable