Monitoring QC Data 1.Use Levey-Jennings chart 2.Monitor over time to evaluate the accuracy and veracity of repeated measurements 4.Review charts at defined intervals, take necessary action, and documentPlot control values each run, make decision regarding acceptability of run 3.