Reliability in Power Systems:Reliability is critical for modern power systems due to resource adequacy, operational reliability, and resilience.Importance of Continuous Improvement and Innovation:Adaptability: Power systems must evolve to accommodate changing energy sources and technologies.Transmission reliability involves high-voltage lines, substations, and grid operators.Operational Strategies for Reliability:Preventive maintenance, real-time monitoring, demand response, and emergency plans enhance reliability .Efficiency: Continuous improvement ensures optimal resource utilization.Future Recommendations:Embrace Emerging Technologies:Invest in energy storage systems (ESS) and microgrids.The transition to inverter-based resources (IBRs) impacts reliability.Transmission lines, substations, and distribution networks ensure efficient power transfer .