Reverberation artifact in ultrasound is an important phenomenon that can affect the interpretation of ultrasound images. It occurs when ultrasound waves bounce back and forth between two strong reflectors, such as the interface between tissues or between tissue and bone. This can lead to multiple echoes being received by the transducer after the initial pulse, causing artifacts that can obscure or mimic real anatomical structures.