wiring diagrams, computer software information, a list of parts needed, and anoperator's manual are provided. the manufacturer will install the equipment and train staff (covering travelexpenses as necessary) as part of the purchase price.the warranty includes a trial period to verify that the instrument performs asexpected.the manufacturer's maintenance can be included in the contract and, if so,whether maintenance is provided on a regular basis.Determine if the laboratory can provide all the necessary physical requirements,such as electricity, water, and space.There must be adequate room to move theequipment into the laboratory; consider door openings and elevator access
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