In microbiology labs, the caliber of safety cabinets is crucial to maintaining a sterile environment and shielding the samples and users from contamination.The findings showed that the safety cabinet was successful in preserving a regulated atmosphere with a notable decrease in airborne particles and a sufficient airflow velocity.