This project addresses the inflexibility of traditional cooling systems by designing an auto-control system using a microcontroller (Arduino programmed in C++).  The system automatically adjusts coolant temperature (ON/OFF) based on conditions, verified using a thermo-humidity controller.  DC fans replace air conditioners for cost-effectiveness.  The system uses 12V and 5V DC power supplies and incorporates a magnetic card security gate for safety.