Estimate the dose of sulfuric acid required to achieve 78% water recovery rate in RO unit, Assume the acid 97% solution, alkalinity of water 330 mg/L as HCO which is equal to carbonic hardness due to calcium, pK2-10.33, pKal-6.35, Ksp-4.95*10, starting concentration of H₂CO; is negligible,