3.1 Ratio first derivative Spectrophotometric methodThe ratio spectra of different AZH standards at increasing concentrations in methanol obtained bydividing each with the stored zero order spectrum of standard solution of FLU (12 ug/ml) are shownin Figure 2(b) and the first derivative of these spectra traced with the interval of ??= 2 nm areillustrated in Figure 2(c).found as optimum for the first derivative of their ratio spectra was 2 nm. From the Figure 2(c), Figure 3(c), Figure 4(c) and Figure 5(C)wavelength maxima 288.19 nm, 237.16 nm, 242.20 nm and 288.50 nm were selected for thedetermination of the AZH, FLU, CLO and DES respectively in the assay of pharmaceutical preparationdue to its lower R.S.D. (relative standard deviation) value and more suitable mean recovery.Similarly, the ratio derivativespectra of the solutions of CLO in different concentrations in methanol traced with the interval of ??=2 nm by using the zero order spectra of DES (400 ug/ml) as divisor by computer aid is demonstratedin Figure 4 and the ratio derivative spectra of the solutions of DES in different concentrations inmethanol recorded with the interval of ??= 2 nm by using the zero order spectra of CLO (6 ug/ml) asdivisor by computer aid is demonstrated in Figure 5.Similarly, the ratio derivative spectra of the solutions of FLU in differentconcentrations in methanol traced with the interval of ??= 2 nm by using the zero order spectra ofAZH (15 ug/ml) as divisor by computer aid is demonstrated in Figure 3.The ??
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