useful for environmental testing , detection of chlorinated pesticides orherbicides, detection of polynuclear aromatic carcinogens , detection oforganometallic compoundsselective for halogen- (I, Br, Cl, F), nitro-, and sulfur-containing compounds detects polynuclear aromatic compounds, anhydrides and conjugated carbonyl compounds