conclusionthe transition from conventional film-screen mammography to digital mammography has brought several advantages.It is important for healthcare professionals and patients to have a thorough understanding of the advantages and disadvantages of both methods in order to make informed decisions regarding breast cancer screening.Digital mammography offers improved sensitivity in detecting breast cancer, better image quality with higher contrast, enhanced workflow efficiency, advanced image manipulation techniques, and benefits in archiving and transmitting images.Digital mammography can result in false positives and false negatives, exposing women to low doses of ionizing radiation, and potentially leading to overdiagnosis and overtreatment.These advantages contribute to early detection, accurate diagnoses, and improved patient care