"In our literature review, we explored several studies. First, Jia et al. (2018) developed anoptimization method for placing synchronous condensers to enhance short circuit ratios in powergrids, particularly those integrating renewable energy sources. Their method, applied to a Danishpower system, aimed at cost minimization while boosting grid stability.Next, Marken et al. (2011) discussed the various benefits of synchronous condensers in gridswith high renewable energy penetration. They highlighted modern technological advances thatimprove both grid stability and dynamic response, especially in isolated systems and those nearHVDC installations.Lastly, Zhou et al. (2019) conducted a comparative analysis between synchronous condensersand static VAR compensators for dynamic voltage support. Their study underscored the superiorperformance of synchronous condensers in maintaining voltage stability under low voltageconditions, validated by extensive performance analysis and grid simulations."