If the discharge pressure reaches its set-point:The compressor will continue to work harder, potentially leading to overheating and reduced efficiency.In extreme cases, excessive discharge pressure could cause system failure, leading to equipment damage and safety hazards.If no control measures are in place, excessive pressure can damage components such as valves, pistons, and cylinders.