The thermometer can be calibrated by placing it in thermal contact with a natural system that remains at constant temperature.This means: we need to test the thermometer at least at two different temperatures we are sure of their values.