Analogue instruments produce outputs that change continuously with the measured quantity, offering an infinite range of values within their design limits. A classic example is the deflection-type pressure gauge (Figure 2.1), where the pointer moves smoothly with the input. While theoretically having infinite positions, the human eye can only distinguish a limited number, determined by scale size and division. In contrast, digital instruments generate outputs in discrete steps, allowing only a finite number of values.