?Focus?* Definition: Focusing in ultrasound refers to the process of narrowing the ultrasound beam to a specific point or region, enhancing the resolution and clarity of the image at that depth.It allows for better differentiation of structures and improved diagnostic accuracy.* Dynamic Focus: Achieved electronically by adjusting the timing of the ultrasound pulses.?* Importance: Proper focusing is essential for achieving high-resolution images.?