Equipment and Technology: Assess the availability and functionality of mammography machines and other equipment.Ensure standardized and clear documentation practices to facilitate accurate interpretation of mammograms and efficient communication between healthcare providers.Consider investing in advanced technology, such as digital mammography or computer-aided detection systems, to enhance image quality and efficiency.Regular maintenance and timely repair of equipment are crucial to prevent downtime and ensure smooth operations.Regularly review and update documentation templates to improve efficiency and accuracy.Implement a system for tracking equipment usage, maintenance schedules, and replacement cycles.5.6.
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