1.Thecuff is placed around the arm of the patient, when the cuff is inflated, the circulation in theartery is blocked temporarily, and when the cuff is deflated, sounds are generated becauseof the blood throbbing inside the artery.The cuff is placed aroundthe upper arm and rapidly inflated to pressure 30 mmHg above the prospective systolicblood pressure, occluding the blood flow in the brachial artery.2.1 Auditory methodThis method usually employs a mercury column, an occlusive cuff, and a stethoscope.The principle of blood pressure measurement using this technique depends on thetransmission of intra-arterial pulsations through the occluded arm.The oscillations on the arterial pressure are processed toestablish an oscillometric curve to calculate the Both numbers automatically and display theresult in the monitor.Then the cuff is deflatedgradually while the detecting system, by means of a pressure sensor, detects theoscillometric signal step by step.The most common site for indirect measurement is the upper armwhere the brachial artery is located, although many other sites may be used.When the soundsdisappear, we have the diastolic pressure.2.