To evaluate the performance of the ejector-expansion refrigeration cycle (EERC) usingzeotropic mixtures, a numerical study is conducted.Thisimprovement rises at high condensing temperature or low evaporating temperature.Theexergy analysis shows that the compressor and ejector contribute the most exergydestruction, and the cycle exergy efficiency achieves a maximum value with MFt of 0.7.A constant-pressure two-phase ejectormodel for zeotropic mixtures is established.