OdorsOdors in domestic wastewater are usually caused by gases produced by the decomposition of organic matter or by substances added to the wastewater.The most characteristic odor of stale or septic wastewater is that of hydrogen sulfide, which, as discussed previously, is produced by anaerobic microorganisms that reduce sulfate to sulfide.