Typical biochemistry lab have three different centrifuges:1.Microcentrifuge:(microfuge centrifuges or mini centrifuge or bench top centrifuge)o Capacity: spinning 1-2 ml centrifuge tubes (small quantities) o Speeds: up to 12000 - 13000 rpm.High-speed centrifuge:o Speed: up to about 25,000 rpmo Capacity: various sizes, depending on the rotors (the larger the rotor, the slower the maximum speed).o Usually rotors at 4oC, so called cold centrifuge   3.2.
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