The device which produces the IC plasma is commonly referred to as the ICP torch.

It consists of two to four Argon flows depending on the manufacturer:Nebulizer gas (inner Argon flow) carries the analyte aerosol sheath gas for producing a laminar flow to improve low excitation energy elements e.g. group I & II elements