PID controllers are mechanisms that operate on feedback to control a system, process, or plant.

They work by measuring this feedback over time and adjusting the process’s input as needed to achieve a desired setpoint.

They are extremely popular in industrial settings used to control, among other things: heaters, boilers, blowers, and robotic arms.

You can also find them in everyday applications, such as cruise control systems in cars.