In this paper, well-established concepts such as the Optimal Power Flow (OPF) and branch flow models were integrated to novelty ideassuch as the Power Router Grid (PRG), an innovative electric grid design based on power routers (PRs).Moreover, the PRG-OPF can befurther expanded in order to consider other constraints such as line loading, converter efficiency, and voltages at voltage control ports.Additionally, theproposed model demonstrates the PRG benefits, enabling the extensionof radial-based models to encompass grids interconnected through PRs.This integration resulted in the definitionof the PRG-OPF, a mathematical optimization that uses SOCP relaxationto find the global optimal operation for any PRG.The optimization model has been implemented using Python and thePYOMO modeling language, and three case studies were conducted tovalidate its effectiveness.Additionally, a sensitivity analysis was performed to measure the impactin terms of line losses of operating the PRG outside the optimal point.Moreover, thesensitivity analysis demonstrated the influence line impedances havewhen changing the setpoints of controllable lines.