8.2 Evaluation of the cleaning process reveal the mechanismFor research purposes, the measurements do not need to be quick, easy to handle and non-invasive.Visual inspection is an off-line method and can range from ordinary photosto follow the course of cleaning, but also together with dyes for specific elements andmicroscopic techniques to enhance the details and resolution.Using Scanning electronmicroscopy (SEM) structural changes of the fouling, such as the swelling of the proteindeposit, can be revealed.By monitoringand analyzing the effluent during cleaning over time, important information is obtained; suchas when the protein and mineral content is released in comparison to each other and to thecurrent parameters used for the cleaning process.UV-absorbance can be used in cleaning studies to investigate the effluent concentration ofproteins [84].The content of the mineral deposit could be obtained in using aSEM-EDX, giving the elemental composition in a certain area of the sample [111].From effluent analysis, the originalcomposition of the fouling can be determined, but without any spatial information.