CONDITION OF OPERATING SUITE TING SUITETING SUITEThe responsibility of the surgeon to his patient in theoperating suite begins before the wielding of the knife.Temperature--Evaporation of gaseous fumigant ismore at the higher temperature. As a general rule, about 180ml is used for a room of the size 1000 cubic feet (=10x 10 x 10 feet)Parameters Optimum levels for effective fumigationRelative humidity Over 70 %Temperature 30-40 0 CFormaldehyde levels 5 ppm or moreFollowing fumigation, ideally swabs are taken andculture done to ensure the sterility of the operation room.Most properly equipped operating suiteswill have an anesthesia induction room to protect thepatient from such disturbances.Waterused in the fumigator along with the fumigant(formalin) helps to achieve and maintain the desiredRH.2.Formaldehyde levels in the air--should be ideally 5ppm or more.The dose of formalin is usually decidedby the size of the room.The anesthetist once again reviews the patienthere, who has already been examined in the pre-aneasthetic clinic on the previous day.3.
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